## README
key | name | description | standard | technology | manifest_version
version_mixs_stx_seq | Spatial Transcriptomics Sequencing (ST-Seq) [Minimum Information about any (x) Sequence (MIxS)] | Spatial transcriptomics sequencing, using Minimum Information about any (x) Sequence (MIxS) standard, detailing the contextual information about sampling and sequencing processes. | mixs | stx_seq | 0.1

## study
study_id | project_name | description (optional) | workflow (optional) | technology | neg_cont_type (optional) | pos_cont_type (optional) | experimental_factor (optional) | associated_resource (optional)
A unique alphanumeric identifier for this study | Official name of the study or project. Project title should be fewer than 30 words, such as a title of a grant proposal or a publication. | A detailed description of the project which includes research goals and experimental approach. Project description should be fewer than 300 words, such as an abstract from a grant application or publication. | The workflow or protocol followed during the study. | The sorting or visualisation technology used. | The substance or equipment used as a negative control in an investigation | The substance, mixture, product, or apparatus used to verify that a process which is part of an investigation delivers a true positive | Variable aspects of an experiment design that can be used to describe an experiment, or set of experiments, in an increasingly detailed manner. This field accepts ontology terms from Experimental Factor Ontology (EFO) and/or Ontology for Biomedical Investigations (OBI) | A related resource that is referenced, cited, or otherwise associated to the sequence.
e.g. A7F9B3X2 | e.g. Study of single cells in the human body | e.g. This project explores the intricate details of single cells in the human body, focusing on their structure, function, and behaviour. By studying individual cells, it aims to uncover how they contribute to overall health, disease progression, and human biology. This research can provide deeper insights into cellular processes, paving the way for advancements in medical treatments and personalised medicine. | e.g. Laser microdissection | e.g. Vizgen | e.g. Phosphate buffer | e.g. substance1 | e.g. EFO:0001779 | e.g. https://arctos.database.museum/media/10520962 ¦ https://arctos.database.museum/media/10520964
FILL OUT INFORMATION BELOW THIS ROW

## HiddenDropdowns (hidden)
454 Gs | Abdomen | Autotroph
454 Gs 20 | Anterior Body | Carboxydotroph
454 Gs Flx | Blade | Chemoautolithotroph
454 Gs Flx Titanium | Blood | Chemoautotroph
454 Gs Flx+ | Bodywall | Chemoheterotroph
454 Gs Junior | Bone Marrow Hematopoietic Niches | Chemolithoautotroph
Ab 310 Genetic Analyzer | Bract | Chemolithotroph
Ab 3130 Genetic Analyzer | Brain | Chemoorganoheterotroph
Ab 3130Xl Genetic Analyzer | Bud | Chemoorganotroph
Ab 3500 Genetic Analyzer | Cap | Chemosynthetic
Ab 3500Xl Genetic Analyzer | Cephalothorax | Chemotroph
Ab 3730 Genetic Analyzer | Cortex Development In Roots | Copiotroph
Ab 3730Xl Genetic Analyzer | Developing Brain | Diazotroph
Ab 5500 Genetic Analyzer | Developing Embryo | Facultative
Ab 5500Xl Genetic Analyzer | Developing Seed Coat | Heterotroph
Ab 5500Xl-W Genetic Analysis System | Dna Extract | Lithoautotroph
Ab Solid 3 Plus System | Egg | Lithoheterotroph
Ab Solid 4 System | Eggshell | Lithotroph
Ab Solid 4Hq System | Embryonic Stem Cells | Methanotroph
Ab Solid Pi System | Endocrine Tissue | Methylotroph
Ab Solid System | Endosperm | Mixotroph
Ab Solid System 2.0 | Eye | Obligate
Ab Solid System 3.0 | Fat Body | Oligotroph
Bgiseq-50 | Fetal Heart | Organoheterotroph
Bgiseq-500 | Fetal Kidney | Organotroph
Complete Genomics | Fetal Liver | Photoautotroph
Dnbseq-G400 | Fetal Lung | Photoheterotroph
Dnbseq-G400 Fast | Fin | Photolithoautotroph
Dnbseq-G50 | Floral Meristem | Photolithotroph
Dnbseq-T10X4Rs | Flower | Photosynthetic
Dnbseq-T7 | Gastrulation-Stage Embryo | Phototroph
Element Aviti | Gill Animal
Fastaseq 300 | Gill Fungi
Genapsys Sequencer | Gonad
Genius | Gut
Genocare 1600 | Hair
Genolab M | Head
Gridion | Heart
Gs111 | Hepatopancreas
Illumina Genome Analyzer | Holdfast Fungi
Illumina Genome Analyzer Ii | Hypocotyl
Illumina Genome Analyzer Iix | Inflorescence
Illumina Hiscansq | Intestine
Illumina Hiseq 1000 | Kidney
Illumina Hiseq 1500 | Leaf
Illumina Hiseq 2000 | Leaf Primordia
Illumina Hiseq 2500 | Leg
Illumina Hiseq 3000 | Limb Bud
Illumina Hiseq 4000 | Liver
Illumina Hiseq X | Lung
Illumina Hiseq X Five | Mid Body
Illumina Hiseq X Ten | Modular Colony
Illumina Iseq 100 | Mollusc Foot
Illumina Miniseq | Multicellular Organisms In Culture
Illumina Miseq | Muscle
Illumina Nextseq 500 | Mycelium
Illumina Nextseq 550 | Mycorrhiza
Illumina Novaseq 6000 | Neonatal Retina
Illumina Novaseq X | Neural Crest Cells
Illumina Novaseq X Plus | Nodules
Ion Genestudio S5 | Not Applicable
Ion Genestudio S5 Plus | Not Collected
Ion Genestudio S5 Prime | Not Provided
Ion Torrent Genexus | Olfactory Epithelium
Ion Torrent Pgm | Other Fungal Tissue
Ion Torrent Proton | Other Plant Tissue
Ion Torrent S5 | Other Reproductive Animal Tissue
Ion Torrent S5 Xl | Other Somatic Animal Tissue
Mgiseq-2000Rs | Ovary Animal
Minion | Oviduct
Nextseq 1000 | Ovule Primordium
Nextseq 2000 | Pancreas
Onso | Petiole
Pacbio Rs | Placental Trophoblast Cells
Pacbio Rs Ii | Pollen Mother Cells
Promethion | Posterior Body
Revio | Postnatal Thymus
Sentosa Sq301 | Rhizome Meristem
Sequel | Root
Sequel Ii | Root Apical Meristem
Sequel Iie | Scales
Tapestri | Scat
Ug 100 | Seed
Seedling
Shoot
Shoot Apical Meristem
Skin
Somitic Mesoderm
Sperm Seminal Fluid
Spleen
Spore
Spore Bearing Structure
Stem
Stipe
Stomach
Tentacle
Terminal Body
Testis
Thallus Fungi
Thallus Plant
Thorax
Trichome Precursor Cells
Unicellular Organisms In Culture
Vascular Cambium
Whole Organism
Whole Plant

## person
study_id | orcid_id (optional) | givenName | familyName | email (optional) | affiliation | funder (optional) | funding (optional)
A unique alphanumeric identifier for this study | A 16-digit number that uniquely identify researchers. | A first name (or given name) is the personal name given to an individual conducting the study. | A last name (or surname) is the family name passed down from one generation to the next for the individual conducting the study. | A unique identifier used to send and receive electronic messages (emails) over the internet. | An organisation or institution that this person is associated with. | A person or organization that supports (sponsors) something through some kind of financial contribution. | A grant that directly or indirectly provides funding or sponsorship for the person to conduct the study.
e.g. A7F9B3X2 | e.g. 0000-1234-5678-9012 | e.g. Jane | e.g. Doe | e.g. jane.doe@example.com | e.g. University of Liverpool | e.g. BBSRC | e.g. GRAK3489
FILL OUT INFORMATION BELOW THIS ROW

## sample
study_id | sample_id | specific_host (optional) | organism (optional) | microb_start_taxID (optional) | tissue (optional) | collection_date (optional) | lat_lon (optional) | env_broad_scale (optional) | env_local_scale (optional) | env_medium (optional) | accession_number (optional) | geo_loc_name (optional) | depth (optional) | elev (optional) | samp_size (optional) | samp_name (optional) | lib_screen (optional) | ref_db (optional) | temp (optional) | isol_growth_condt (optional) | alt (optional) | source_mat_id (optional) | ploidy (optional) | pathogenicity (optional) | propagation (optional) | samp_collect_device (optional) | biotic_relationship (optional) | ref_biomaterial (optional) | tax_ident (optional) | trophic_level (optional) | subspecf_gen_lin (optional) | host_disease_stat (optional) | samp_collect_method (optional) | samp_taxon_id (optional) | tax_class (optional)
A unique alphanumeric identifier for the study if refering to | A unique alphanumeric reference or identifier for the study. | Report the host's taxonomic name and/or NCBI taxonomy ID | The full scientific name of the species studied. | An identifier of the strain of the organism, if applicable. | The type of tissue sampled for the study. | The time of sampling, either as an instance (single point in time) or interval. In case no exact time is available, the date/time can be right truncated i.e. all of these are valid times: 2008-01-23T19:23:10+00:00; 2008-01-23T19:23:10; 2008-01-23; 2008-01; 2008; Except: 2008-01; 2008 all are ISO8601 compliant | The geographical origin of the sample as defined by latitude and longitude. The values should be reported in decimal degrees, limited to 8 decimal points, and in WGS84 system | Report the major environmental system the sample or specimen came from. The system(s) identified should have a coarse spatial grain, to provide the general environmental context of where the sampling was done (e.g. in the desert or a rainforest). Reference: https://github.com/EnvironmentOntology/envo/wiki/Using-ENVO-with-MIxS. | Report the environmental material(s) immediately surrounding the sample or specimen at the time of sampling. | Report the environmental material(s) immediately surrounding the sample or specimen at the time of sampling. | A unique alphanumeric reference or identifier assigned to the sample in the study related to NCBI Taxonomy. | The geographical origin of the sample as defined by the country or sea name followed by specific region name. Country or sea names should be chosen from the INSDC country list (http://insdc.org/country.html), or the GAZ ontology (http://purl.bioontology.org/ontology/GAZ) | The vertical distance below local surface. For sediment or soil samples depth is measured from sediment or soil surface, respectively. Depth can be reported as an interval for subsurface samples | Elevation of the sampling site is its height above a fixed reference point, most commonly the mean sea level. Elevation is mainly used when referring to points on the earth's surface, while altitude is used for points above the surface, such as an aircraft in flight or a spacecraft in orbit | The total amount or size (volume (ml), mass (g) or area (m2) ) of sample collected |  | Specific enrichment or screening methods applied before and/or after creating libraries | List of database(s) used for ORF annotation, along with version number and reference to website or publication | Temperature of the sample at the time of sampling in degree celsius | Publication reference in the form of pubmed ID (pmid), digital object identifier (doi) or url for isolation and growth condition specifications of the organism/material | Heights of objects such as airplanes, space shuttles, rockets, atmospheric balloons and heights of places such as atmospheric layers and clouds in metres (m). It is used to measure the height of an object which is above the earth's surface. In this context, the altitude measurement is the vertical distance between the earth's surface above sea level and the sampled position in the air | A unique identifier assigned to a material sample used for extracting nucleic acids, and subsequent sequencing. The identifier can refer either to the original material collected or to any derived sub-samples. The INSDC qualifiers /specimen_voucher, /bio_material, or /culture_collection may or may not share the same value as the source_mat_id field. | The ploidy level of the genome (e.g. allopolyploid, haploid, diploid, triploid, tetraploid). It has implications for the downstream study of duplicated gene and regions of the genomes (and perhaps for difficulties in assembly) | To what is the entity pathogenic | The type of reproduction from the parent stock. Values for this field is specific to different taxa. | The device used to collect an environmental sample. | Description of relationship(s) between the subject organism and other organism(s) it is associated with. | Primary publication if isolated before genome publication; otherwise, primary genome report | The phylogenetic marker(s) used to assign an organism name to the SAG or MAG | Trophic levels are the feeding position in a food chain. Microbes can be a range of producers (e.g. chemolithotroph) | Information about the genetic distinctness of the sequenced organism below the subspecies level, e.g., serovar, serotype, biotype, ecotype, or any relevant genetic typing schemes like Group I plasmid. Subspecies should not be recorded in this term, but in the NCBI taxonomy. Supply both the lineage name and the lineage rank separated by a colon, e.g., biovar:abc123 | List of diseases with which the host has been diagnosed; can include multiple diagnoses. The value of the field depends on host; for humans the terms should be chosen from the DO (Human Disease Ontology) at https://www.disease-ontology.org, non-human host diseases are free text | The method employed for collecting the sample | NCBI taxon id of the sample. Maybe be a single taxon or mixed taxa sample. Use 'synthetic metagenome for mock community/positive controls, or 'blank sample' for negative controls | Method used for taxonomic classification, along with reference database used, classification rank, and thresholds used to classify new genomes
e.g. A7F9B3X2 | e.g. study123 | e.g. Arenicola marina | e.g. Arenicola marina | e.g. XY [en:42] | e.g. Leaf | e.g. 2024-09-20T21:12 | e.g. 50.123 6.24512 | e.g. Urban | e.g. Laboratory | e.g. Tissue culture | e.g. accession123 | e.g. USA: Maryland, Bethesda | e.g. 200 | e.g. 1236 | e.g. 5 litre | e.g. ISDsoil1 | e.g. Enriched | e.g. pVOGs;5;http://dmk-brain.ecn.uiowa.edu/pVOGs/ Grazziotin et al. 2017 doi:10.1093/nar/gkw9 | e.g. 25 | e.g. doi:10.1016/j.syapm.2018.01.009 | e.g. 100 | e.g. MPI012345 | e.g. allopolyploidy | e.g. Animal | e.g. lytic | e.g. sampleDevice | e.g. Free living | e.g. doi:10.1016/j.syapm.2018.01.009 | e.g. Other | e.g. heterotroph | e.g. serovar:Newport | e.g. bacterial esophagitis | e.g. Caught with a net | e.g. Gut Metagenome [NCBITaxon:749906] | e.g. vConTACT vContact2
FILL OUT INFORMATION BELOW THIS ROW

## lib_prep
study_id | library_prep_id | sample_id | library_prep_kit (optional) | library_prep_kit_version | amplification_method (optional) | cdna_amplification_cycles | average_size_distribution (optional) | lib_construction_method (optional) | input_molecule (optional) | primer (optional) | primeness | end_bias (optional) | library_strand (optional) | spike_in | spike_type (optional) | spike_in_dilution_or_concentration (optional) | i5_index | i7_index | dual_single_index | i5_sequence | i7_sequence | plate_id (optional) | well_row (optional) | well_col (optional) | cell_phenotype (optional) | nucl_acid_amp (optional) | nucl_acid_ext (optional) | samp_size (optional) | estimated_size (optional) | samp_vol_we_dna_ext (optional) | lib_vector (optional) | adapters (optional) | samp_mat_process (optional) | pool_creation_date (optional) | pool_creation_protocol (optional) | design_description (optional)
A unique alphanumeric identifier for this study | A unique alphanumeric reference or identifier for the library preparation protocol used during the sequencing. | A unique alphanumeric reference or identifier assigned to the cell suspension for the sample in the study. | Packaged kits (containing adapters, indexes, enzymes, buffers etc.), tailored for specific sequencing workflows, which allow the simplified preparation of sequencing-ready libraries for small genomes, amplicons, and plasmids | The version number of the library preparation kit used for sequencing. | The method used to amplify the Complementary DNA (cDNA). | The number of cycles used during the Complementary DNA (cDNA) amplification process. | The average length of RNA fragments in base pairs (BP) after library preparation, indicating the quality and suitability of the RNA for sequencing. | The library construction method (including version) that was used. | The specific fraction of biological macromolecule from which the sequencing library is derived. | The type of primer used for reverse transcription. This allows users to identify content of the cDNA library input for mRNA. | The end from which the molecule was sequenced. | The end bias of the library. | The Complementary DNA (cDNA) strand of the library from which the reads derived from - sense (first), antisense (second), both or none. | External RNA added to the sample as a control to assess technical variability and normalization in RNA-sequencing. State whether spike-in was used. | The specific type of external RNA used for spiking in, often indicating the source or nature of the control RNA. | The final concentration or dilution (for commercial sets) of the spike in mix. | Barcode sequence used on the i5 adapter during library preparation for identifying samples in multiplexed single-cell RNA-sequencing. | Barcode sequence used on the i7 adapter to distinguish samples in multiplexed sequencing runs. | Specifies if both i5 and i7 indices (dual) or only one index (single) was used for sample identification during sequencing. | The nucleotide sequence of the i5 index used in multiplexing during sequencing. | The specific nucleotide sequence of the i7 index used for a sample. | Identifier for the 96-well plate used in sample preparation. | The row identifier in a 96-well plate indicating the sample's position. | The column identifier in a 96-well plate indicating the sample's position. | The cell marker for the Fluorescence-Activated Cell Sorting (FACS) of cells. | A link to a literature reference, electronic resource or a standard operating procedure (SOP), that describes the enzymatic amplification (PCR, TMA, NASBA) of specific nucleic acids. The link can be a PMID, DOI or URL. | A link to a literature reference, electronic resource or a standard operating procedure (SOP), that describes the material separation to recover the nucleic acid fraction from a sample | The total amount or size (volume (ml), mass (g) or area (m2) ) of sample collected | The estimated size of the genome prior to sequencing in base pairs (bp). Of particular importance in the sequencing of (eukaryotic) genome which could remain in draft form for a long or unspecified period | Volume (ml) or mass (g) of total collected sample processed for DNA extraction. | Cloning vector type(s) used in construction of libraries | Adapters provide priming sequences for both amplification and sequencing of the sample-library fragments. Both adapters should be reported; in uppercase letters | A brief description of any processing applied to the sample during or after retrieving the sample from environment, or a link to the relevant protocol(s) performed | Date at which the pool was created. | A link to the protocol for pool of specimens creation. | The design of the library including details of how it was constructed.
e.g. A7F9B3X2 | e.g. libPrep123 | e.g. sample123 | e.g. 10X Genomics Single Cell 3' v3 | e.g. 2 | e.g. PCR | e.g. 12 | e.g. 350 | e.g. Smart-Seq2 | e.g. RNA | e.g. Random | e.g. 5' | e.g. 3 | e.g. Antisense | e.g. Yes | e.g. Synthetic RNA | e.g. 1:1000 | e.g. ATCACG | e.g. CGATGT | e.g. Dual | e.g. ATCGTAGC | e.g. TGCATGCA | e.g. plate123 | e.g. A | e.g. 5 | e.g. CD41- | e.g. https://phylogenomics.me/protocols/16s-pcr-protocol/ | e.g. https://mobio.com/media/wysiwyg/pdfs/protocols/12888.pdf | e.g. 5 litre | e.g. 300000 | e.g. 1500 milliliter | e.g. Bacteriophage P1 | e.g. AATGATACGGCGACCACCGAGATCTACACGCT;CAAGCAGAAGACGGCATACGAGAT | e.g. filtering of seawater, storing samples in ethanol | e.g. YYYY-MM-DD | e.g. | e.g.
FILL OUT INFORMATION BELOW THIS ROW

## sequencing
study_id | sequencing_id | sequencing_platform_name | sequencing_instrument_model | lib_layout | umi_barcode_read (optional) | umi_barcode_offset (optional) | umi_barcode_size (optional) | cell_barcode_read (optional) | cell_barcode_offset (optional) | cell_barcode_size (optional) | cdna_read | cdna_read_offset (optional) | cdna_read_size (optional) | lib_size (optional) | compl_score (optional) | lib_reads_seq (optional) | number_contig (optional) | num_replicons (optional)
A unique alphanumeric identifier for this study | A unique alphanumeric reference or identifier for the sequencing protocol. | The name of the sequencing platform used for the experiment. | This refers to the machine or platform used for sequencing, with variations in throughput, read lengths, error rates, and application suitability. | Specify whether to expect single, paired, or other configuration of reads for sequencing | The type of read that contains the Unique Molecular Identifier (UMI) barcode. | The offset in sequence of the Unique Molecular Identifier (UMI) identifying barcode. | The size of the Unique Molecular Identifier (UMI) identifying barcode. | The type of read that contains the UMI barcode. | The offset in sequence of the cell identifying barcode. | The offset in sequence of the cell identifying barcode. | The actual nucleotide sequence obtained from Complementary DNA (cDNA) during sequencing. | The starting position of the Complementary DNA (cDNA) read within the entire sequence, indicating where the read begins after any barcodes or technical sequences. | The size of the Complementary DNA (cDNA) read. | Total number of clones in the library prepared for the project | Completeness score is typically based on either the fraction of markers found as compared to a database or the percent of a genome found as compared to a closely related reference genome. High Quality Draft: >90%, Medium Quality Draft: >50%, and Low Quality Draft: < 50% should have the indicated completeness scores | Total number of clones sequenced from the library | Total number of contigs in the cleaned/submitted assembly that makes up a given genome, SAG, MAG, or UViG | Reports the number of replicons in a nuclear genome of eukaryotes, in the genome of a bacterium or archaea or the number of segments in a segmented virus. Always applied to the haploid chromosome count of a eukaryote
e.g. A7F9B3X2 | e.g. seq123 | e.g. Pacbio | e.g. Illumina NovaSeq 6000 | e.g. Paired | e.g. index2 | e.g. 0 | e.g. 10 | e.g. index1 | e.g. 10 | e.g. 0 | e.g. read1 | e.g. 6 | e.g. 75 | e.g. 50 | e.g. med;60% | e.g. 20 | e.g. 40 | e.g. 2
FILL OUT INFORMATION BELOW THIS ROW

## file
study_id | lib_prep_id | sequencing_id | file_id | read_1_file | read_2_file (optional) | index_1_file (optional) | index_2_file | read_1_file_checksum | read_2_file_checksum (optional) | index_1_file_checksum | index_2_file_checksum (optional) | white_list_barcode_file (optional) | file_name | file_type
A unique alphanumeric identifier for this study | A unique alphanumeric reference or identifier for the library preparation protocol used during the sequencing. | A unique alphanumeric reference or identifier for the sequencing protocol. | A unique alphanumeric identifier for this file | The name or accession of the file that contains read 1. | The name or accession of the file that contains read 2. | The name of the file that contains index 1. | The name of the file that contains index 2. | Result of a hash function calculated on the content of the read 1 file to verify file integrity. Commonly used algorithms include MD5 and SHA-1. The checksums should be separated by a comma (,). | Result of a hash function calculated on the content of the read 2 file to verify file integrity. Commonly used algorithms include MD5 and SHA-1. The checksums should be separated by a comma (,). | Result of a hash function calculated on the content of the index 1 file to verify file integrity. Commonly used algorithms include MD5 and SHA-1. The checksums should be separated by a comma (,). | Result of a hash function calculated on the content of the index 2 file to verify file integrity. Commonly used algorithms include MD5 and SHA-1. The checksums should be separated by a comma (,). | A file containing the known cell barcodes in the dataset. | A filename or file name is a name used to uniquely identify a data file related to the study. | A file type is a name given to a specific kind of file. Common file types are fastq, gtf, fasta, bam, archive etc.
e.g. A7F9B3X2 | e.g. libPrep123 | e.g. seq123 | e.g. A7F9B3X2 | e.g. file1_r1.fastq.gz | e.g. file2_r2.fastq.gz | e.g. file1_i1.fastq.gz | e.g. file2_i2.fastq.gz | e.g. d41d8cd98f00b204e9800998ecf8427e | e.g. d41d8cd98f00b204e9800998ecf8427e | e.g. d41d8cd98f00b204e9800998ecf8427e | e.g. d41d8cd98f00b204e9800998ecf8427e | e.g. barcodes.tsv | e.g. file001 | e.g. fastq
FILL OUT INFORMATION BELOW THIS ROW